

August 2022

Version 2.1



BIM Standard

**Record of Revision**

| **Revision No.** | **Date** | **Description** |
| --- | --- | --- |
| 1.0 | 3/19/21 | Issued for review |
| 2.0 | 6/18/21 | Final |
| 2.1 | 9/9/22 | Updated logo |
|  |  |  |
|  |  |  |

Table of Contents

 [1 Introduction 1](#_Toc69209141)

 [2 Software 2](#_Toc69209142)

[2.1 Software Selection 2](#_Toc69209143)

[2.2 BIM Design Process 2](#_Toc69209144)

 [3 Building Information Modeling Requirements 4](#_Toc69209145)

[3.1 BIM Execution Plan 4](#_Toc69209146)

[3.1.1 Definition 4](#_Toc69209147)

[3.1.2 Data Requirement 4](#_Toc69209148)

[3.1.3 Level of Development 5](#_Toc69209149)

[3.2 Software-specific Settings 6](#_Toc69209150)

[3.2.1 Revit 6](#_Toc69209151)

[3.2.2 AutoCAD-based Applications 7](#_Toc69209152)

[3.3 Design Collaboration 7](#_Toc69209153)

[3.3.1 Discipline Coordination 7](#_Toc69209154)

[3.3.2 Design Reviews 8](#_Toc69209155)

 [4 Model and Sheet File Management 9](#_Toc69209156)

[4.1 Security 9](#_Toc69209157)

[4.2 Model Exchange and Management 9](#_Toc69209158)

[4.3 PDF Production and Management 11](#_Toc69209159)

[4.4 File Naming Convention 11](#_Toc69209160)

[4.5 Model Positioning 11](#_Toc69209161)

[4.6 QA/QC 12](#_Toc69209162)

[4.6.1 Model Optimization 13](#_Toc69209163)

 [5 Deliverables 15](#_Toc69209164)

[5.1 For Design Reviews 15](#_Toc69209165)

[5.2 For 100% 15](#_Toc69209166)

[5.3 Bid Phase for Design-Bid-Build 16](#_Toc69209167)

[5.4 Post Construction Record 16](#_Toc69209168)

 [Appendix A BIM Execution Plan 18](#_Toc69209169)

 [Appendix B MSD CAD Standards 19](#_Toc69209170)

List of Tables

[Table 2‑1. Approved BIM software versions 2](#_Toc69139961)

[Table 2‑2. Typical model development progression 2](#_Toc69139962)

[Table 3‑1. Minimum data requirements 4](#_Toc69139963)

[Table 3‑2. Level of development 5](#_Toc69139964)

[Table 5‑1. BIM deliverables 15](#_Toc69139965)

List of Figures

[Figure 2‑1. BIM/3D Design Process Workflow 3](#_Toc69139974)

# 1 Introduction

This Standard for the use of Building Information Modeling (BIM) systems provides advice and direction to design engineers delivering designs for the Metropolitan Sewer District of Greater Cincinnati (MSD). The goal of this Standard is to take advantage of the (BIM) modeling process for delivery of construction documents, construction phases, and commissioning phases to enhance and feed into existing and future post construction processes. To successfully implement BIM on a project, MSD developed this detailed BIM Standard which incorporates a BIM Execution Plan (BEP) template for use on each project. MSD will define whether a project will be based on BIM or conventional. Some projects may not need BIM (i.e., simple replacement projects and other projects where detail is not required). The BIM Standard defines uses for BIM on a project along with a detailed design of the process for executing BIM throughout the project lifecycle. A BEP shall be prepared for each project by the design team to define the specific details to be adopted and maintained for that project. Additionally, this Standard is to provide all stakeholders with a delineation of roles and responsibilities detailing scope of information to be shared, relevant business processes and supporting software.

**BIM Standard Change Management**

*This BIM Standard is designed to be a living document that will change throughout the life of the program. Changes requested to this document must be submitted in writing to the MSD Standards Committee. To be accepted into the document, changes must be agreed to by the MSD Standards Committee.*

The BIM Standard was developed to document the decisions made by the project team in working through the BIM Process on a project-by-project basis. The CAD/BIM platform templates with supporting border files and content libraries to ensure project constancy with modeling and deliverables in accordance with the MSD BIM and CAD standards are attached to this BIM Standard. Any changes, modifications, or additions to these templates proposed by the design engineer must be approved by the MSD.

# 2 Software

## Software Selection

The following Table is the list of approved BIM software’s and versions. MSD standard CAD software is Autodesk. Versions noted below shall be maintained for the duration of a design project.

Table ‑. Approved BIM software versions

|  |  |  |
| --- | --- | --- |
| **Software** | **Version\*** | **Discipline(s)** |
| Revit MEP\*\* | 2021 | Process Mechanical |
| Revit MEP\*\* | 2021 | Civil Yard Piping |
| Revit MEP\*\* | 2021 | Building Mechanical (Plumbing & HVAC) |
| Revit MEP\*\* | 2021 | Electrical general arrangement |
| Revit Structure\*\* | 2021 | Structural |
| Revit Architecture\*\* | 2021 | Architectural |
| AutoCAD Electrical | 2021 | Electrical 2D single lines & schedules |
| Plant 3D P&ID | 2021 | I&C 2D P&ID’s and schedules |
| AutoCAD Civil 3D | 2021 | Civil Grading, Paving, Drainage, Irrigation, & Landscaping |
| Navisworks | 2021 | All disciplines – Coordination/Clash Detection/Information extraction/Review Models/Visualization |
| 3D Studio Max | 2021 | All disciplines – Visualization (optional) |
| InfraWorks | 2021 | All disciplines – Site Planning & Visualization (optional) |

\*2021 is the current version approved for use with MSD, other versions may be requested for approval.

\*\*Revit One Box includes MEP, Structural and Architectural applications

## BIM Design Process

The BIM design process shall follow the design stages noted below in accordance with the agreement between the Engineer and MSD. The table below is the typical model development progression starting with the preliminary design stage with expected deliverables.

Table ‑. Typical model development progression

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Preliminary** | **30%** | **60%** | **90%** | **100% Issued for Construction (IFC)** |
| Originating Model\*Basic GA’s | Originating Model\*PID’sElectrical Single Lines | Federated ModelPID’sElectrical Single LinesGA’s, elevations/sections, and standard details for all disciplines | Federated ModelPID’sElectrical Single LinesGA’s, elevations/sections standard details, and special details for all disciplines | Federated ModelPID’sElectrical Single LinesGA’s, elevations/sections standard details, and special details for all disciplines |

\*The originating model is defined as the first model developed by the primary discipline that determines the facility layout and space plan.

The following Graphic depicts a typical BIM design workflow. It is important to understand that model development coincides with true engineering during the preliminary phase. In order to develop the originating model with accurate sizing and processes the engineering prerequisites are required, this includes PID’s, Hydraulic profiles (if required), process flow diagrams, hydraulics for pipe sizing and selection. Once the originating model has been agreed upon by MSD. the other disciplines shall proceed with their respective model development referencing the originating model.

Note that any changes required after the other disciplines have been released due to inadequate prerequisite preparation can result in additional cost and delays to the design.



Figure ‑. BIM/3D Design Process Workflow

# 3 Building Information Modeling Requirements

## BIM Execution Plan

### Definition

The BEP template will be provided to the design engineer by MSD and shall be completed by the design engineer and submitted for approval by MSD within 30 days of the notice to proceed.

The BEP identifies the roles and responsibilities of the BIM Participants and the protocol for information exchange between them. Clear requirements are defined for the types of models that will be produced, how the models must be developed including Level of Development (LOD) inclusions and exclusions, and how the models must be relied upon for other analytical processes.

The BEP shall contain the following information at a minimum:

1. Project Information, including name, contract type, process description, schedule milestones.
2. BIM roles – shall include the Project Manager, Project Technical Lead, Engineering/Architectural Discipline Leads, BIM/CAD Leads
3. BIM uses for each stage of design
4. BIM software for all disciplines, see 2.1 herein. Any deviation to the approved software list shall be approved by MSD in advance of the use of that software.
5. Discipline Model Requirements shall define all elements to be included and the specific Level of Development (LOD) for each Discipline and Data requirements for the model elements.
6. Collaboration Requirements shall define how model security and coordination between disciplines shall be executed.
7. Quality Control shall define responsible parties for visual checks, interference checks, standards checks, and model integrity checks. The timing of these checks shall be stated.

Please refer to the **Appendix A** for the BIM Execution Plan.

### Data Requirement

Each model element is assigned a level of detail for the data deliverable as identified and required by the project team. All participants must input required data into their models and associate it to the corresponding elements. The following are the minimum data requirements that each discipline/participant’s model shall meet:

Table ‑. Minimum data requirements

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **All Disciplines: Room / Space Attribute**

|  |
| --- |
| Attribute Name/Type: |
| Room Number |
| Room Name |
| Department Name |
| Level |
| Area |
| Height |

 | **All Disciplines: Element Attribute**

|  |
| --- |
| Attribute Name/Type: |
| Category/Subcategory |
| Type Name |
| Level |
| Element ID |
| Material |

 | **MEP Disciplines: Element Systems**

|  |
| --- |
| Attribute Name/Type: |
| System Classification |
| System Type |
| System Name |

 |

### Level of Development

The LOD describes the level of development to which a Model Element is developed and is based on BIM Forum 2020 release. MSD has elected to use LOD 350 for all design-bid-build projects which provides sufficient Model detail to create a set of contract documents and establishes a useful base for the addition of other pertinent data.

In LOD 350, the Model Element is graphically represented within the Model as a specific system, object, or assembly in terms of quantity, size, shape, orientation, and interfaces with other systems. Non-graphic information may also be attached to the Model Element.

Table ‑. Level of development

| **Level of Development** | **Description** |
| --- | --- |
| LOD 100  | The Model Element may be graphically represented in the Model with a symbol or other generic representation but does not satisfy the requirements for LOD 200. Information related to the Model Element (i.e. cost per square foot, tonnage of HVAC, etc.) can be derived from other Model Elements.  |
| LOD 200  | The Model Element is graphically represented within the Model as a generic system, object, or assembly with approximate quantities, size, shape, location, and orientation. Non-graphic information may also be attached to the Model Element.  |
| LOD 300  | The Model Element is graphically represented within the Model as a specific system, object or assembly in terms of quantity, size, shape, location, and orientation. LOD300 is suitable for the generation of traditional Construction Documents. Non-graphic information may also be attached to the Model Element.  |
| LOD 350  | The Model Element is graphically represented within the Model as a specific system, object, or assembly in terms of quantity, size, shape, orientation, and interfaces with other systems. Non-graphic information may also be attached to the Model Element.  |
| LOD 400  | The Model Element is graphically represented within the Model as a specific system, object or assembly in terms of size, shape, location, quantity, and orientation with detailing, fabrication, assembly, and installation information. This level of development is considered to be suitable for shop drawings. Non-graphic information may also be attached to the Model Element.  |
| LOD 500  | The Model Element is a field verified representation in terms of size, shape, location, quantity, and orientation. Non-graphic information may also be attached to the Model Elements.  |

## Software-specific Settings

### Revit

Because of the importance in which hierarchy and direction objects are modeled in Revit, it is very important to follow some standards for creating objects in the model.

**Starting a New Model from a Template**

Revit models should always be started the MSD provided template as all project standards and setups are pre-loaded within these files. If you do not use the standard template or start a job based on a different model you are likely to have inconsistent line weights, line types and display settings for the major model objects inside the Revit file. Using the standard template also ensures consistency with the parameters used across the models in the same project.

**Revit Families**

Use shared parameters contained in the standards. (Reference location)

For multi-type families, create consistent names for the different types.

Name reference planes for setting up parameters and alignments.

Use By-Category materials for standard objects.

Test all hosted families to see what happens if the host's dimensions change both larger and smaller.

Test all family parameters to ensure that the model behaves correctly as they are modified.

Check all views to ensure that the symbol is displayed appropriately.

All families should have at least one pre-defined type unless a type catalog is used. Where real world examples come in typical sizes, pre-defined types should be generated.

**Shared Parameters**

Shared parameters are definitions of parameters that you can add to families or projects. Shared parameter definitions are stored in a file independent of any family file or Revit project; this allows you to access the file from different families or projects. The shared parameter is a definition of a container for information that can be used in multiple families or projects. The information defined in one family or project using the shared parameter is not automatically applied to another family or project using the same shared parameter.

In order for information in a parameter to be used in a tag, it must be a family or shared parameter.

### AutoCAD-based Applications

All Autocad based applications including but not limited to Civil 3D, Autocad Electrical, Plant 3D PID, and Autocad shall be produced in accordance with the MSD CAD Standards.

## Design Collaboration

### Discipline Coordination

In order to meet the end goal of coordinated building systems amongst the design team, the design authored models generated by the BIM Participants will undergo thorough coordination analyses to determine and resolve major system design conflicts prior to construction. Coordination will undergo the following process for the Design phase only. Once building elements transition from generic volumes to actual product data, a second coordination analysis shall follow.

The coordination analysis for each model for the Design phase will follow a monthly cycle that is aligned with the project schedule for the facilities included in the project. Once a month, on a predetermined date let known to the design team in advance, the design team BIM Manager will create or request the most recent .NWC model per discipline from the Shared folder on the file sharing site. The BIM Manager will then gather these discipline models and aggregate them into a Federated Model. The BIM Manager will analyze the Federated Model for a number of items. These include, but are not limited to:

* Geometric conflicts (Clashes & Clearances)
* Modeling craft and quality
* Data requirements
* General best practices
* Coordinates (if required)

The BIM Manager will then report back to the design team through one of the following venues:

* Coordination Meetings
* Issue Tracking platform
* Email, depending on the item being studied
* Federated Model including issues as saved views (.nwd)

The BIM Manager and model leads shall attend periodic coordination meetings facilitated by the BIM Manager.  On some occasions, other team members will be required to attend in order to lend their expertise dealing with a particular project issue.

### Design Reviews

The BIM models shall be used to facilitate design reviews at the MSD defined milestones for a project typically at 30%, 60% and 90%. The BIM models shall be federated (inclusive of all disciplines). The federated model shall be projected during the review meeting and be dynamic to allow walkthroughs and comments. The Design reviews shall also be accompanied by 3D PDF’s as part of the submittal.

# 4 Model and Sheet File Management

## Security

As BIM involves a complex interaction between governance, people, process and technology, it is important that all personnel involved in a BIM project understand the cyber security implications. The common data environment (document management system) requires appropriate security policies to be developed and implemented. It is recommended to have a system delivering a multi-layered approach to document and content security including Windows Active Directory integration for single sign-on and document-level security settings for view and edit access.

## Model Exchange and Management

It is the responsibility of Engineer to setup the model exchange structure that allows for the following process and requirements for the project for design collaboration, access, user permissions, notifications, versioning control and file security. Model exchange will happen based on the schedule described in Chapter 5 – Deliverables section. The collaborative project document management system should allow data to progress through the project lifecycle by having a folder for Shared WIP (Work-In-Progress), Issued, and Archived with all permissions and notifications set up accordingly.

The preferred platform for the above noted model exchange and management is Autodesk BIM 360 using the Design Collaboration module. The Engineer shall host, set up and administer the BIM 360 cloud-based application.

All CAD/BIM sheet and model development shall be done via the BIM 360 environment. Models shall be developed and maintained in the Model folder under each discipline and sheet files as noted in the folder structure in the below figure. The Exports folder shall be used for file exports to other formats needed for collaboration. It is required that only project sheet files reside in the discipline root folders and project models reside in the discipline Model folder.



The Engineer will also host a common master Federated model (NWD) that would include all discipline models aligned and positioned. This will be the single source of truth for looking at the model progress updates, pending issues, etc. These models shall be viewed from BIM 360 and made available to MSD as requested.



## PDF Production and Management

Work in Progress PDF plots shall be posted regularly on BIM 360 under 01\_WIP/PDF’s respective discipline folder. It is essential that only a single source of truth is maintained for the PDF. Teams will be able to back track older versions of PDF’s form single location. Teams can also utilize the Markup/Issue creation utilities within BIM 360. Each discipline is responsible to maintain the latest set of WIP PDF’s on BIM 360.

These PDF’s will be made available to all stakeholders associated with design and review responsibilities.

An additional document with BIM 360, project specific folder structure and guidelines for uploading PDF’s shall be provided.

## File Naming Convention

A consistent naming convention will be maintained for all projects. The file naming conventions for each type of file is summarized below:

Model files are to be named as follows:



Project prefix is established for each project

Will need citation regarding MSD CAD requirement s for file naming in general

## Model Positioning

The purpose of this policy is to define how 3D models are located within the design plane and who creates the originating model.

**Originating Model:**

The originating model is created by the Discipline (i.e. Architecture, Structural, Building Mechanical, Electrical, and Process Mechanical) that governs the model space plan. The type of facility defines which Discipline governs the originating model.

**Revit Coordinate System:**

Every Revit project file has three distinguishable coordinate systems. These coordinates are utilized to define the location of the model objects in relationship to the following:

**Project Internal Coordinate System**: This is a non-editable static coordinate system and is defined as the true internal Revit (0,0,0) or commonly referred to as the **World Coordinate System (WCS)**. The WCS is utilized by all 3D applications to determine the location of model and/or annotation objects for application driven computations. Because of this, the performance of the Revit file will be impacted if there is a great distance between the (0,0,0) of the WCS and user created geometry.

**Project Base Point**: Location of the originating model will be at the inside lower left corner of the structure walls at the ground floor elevation or the center of circular structures at the base and shall be located at a common coordinate set at X=0, Y=0, Z=0. **(Note: Z elevation may be defined close to or the actual elevation)**. All originating models in a project shall use the same coordinate. All originating models shall be oriented with up in the north direction unless directed otherwise by the design manager. All other Disciplines shall reference/link to the originating model to develop the respective Discipline models.  **The originating model and the respective Discipline models shall not be moved or rotated for the duration of design/model lifecycle.**

Civil shall be responsible for defining the actual structure location within the site by taking the referenced structure from the common coordinate and moving it into its proper location within site model. For the purposes of MSD Projects, Ohio State Plain Coordinates shall be used.

## QA/QC

To ensure project teams are using best practices in the development and file exchange of models, a quality assurance process is required to be taken by each BIM Participant. This is an ongoing process, which is to be conducted by the project team at both project milestones and at random intervals to ensure that each model is suitably developed for its intended use. The goal is to ensure that there are no unresolved issues during design or any significant loss of data upon transfer of models.

Each BIM Manager and Model Lead will be responsible for running quality assurance checks on their model(s) on a consistent and frequent basis. For issues involving other disciplines, the issue shall be made known to the corresponding BIM Manager. In addition to the internal QA requirement for each BIM Participant, the project BIM Manager is responsible for periodically checking against pre-determined quality control criteria such as naming conventions, general modeling best practices, corrupt or insufficient data/geometry, etc. The following checklist can be used for Quality Assurance. The actual QA checklist developed for each project shall be incorporated into the BEP.

**Participant Models**

* BIM in agreed version and format
* BIM includes defined levels and grids
* BIM is correctly positioned with project set out and coordinate system
* Building elements, components, and spaces are modeled separately for each level
* BIM includes required building elements at the required LOD for that phase
* Building elements modeled using correct objects
* Building elements include types
* Building elements use human readable names that follow a logic/standard
* No excess building elements (graveyards)
* No overlapping or doubled building elements
* No significant clashes between building elements
* Rooms/Space areas match space program
* Rooms/Space names and heights are defined
* Rooms/Spaces match the boundary walls
* Rooms/Spaces do not overlap
* Components belong to the correct system type (Building Services)

**Federated Models (Merged Models)**

* BIM in agreed version and format
* Included participant models are up to date
* Included participant models are located in the correct coordinate system
* The statuses of previous and ongoing coordination issues are up to date

### Model Optimization

Model optimization refers to the general practice of maintaining a ‘healthy’ model. These items deal with general best practices of maximum file size, clear use of meta-organizational tools such as worksets and layers, use of formula driven families, family file size, and other items listed below that can adversely affect the overall health of a model, or set of models. Below is a list of criteria that must be met when sharing models on each project:

* No single file should be larger than 250 MB (+ or – 10%). A model should be split into links if it reaches this range.
* Worksets should be clearly identified and their application should be strict (i.e. do not have random elements in a work set they do not belong to)
* All linked models should have their own workset. The name of the workset should begin with “XLINK\_” and the linked model should be appended to create “XLINK\_Linked Model Name”.
* Worksets should not be used to explore design iterations or hide elements from view.
* Phases should be clearly identified and their application should be strict.
* Design Options are a great functionality but do require that double the amount of geometry exist in the model. The naming of the Design Options should be clearly identified, and their application should be strict. Old Design Options should be eliminated from the model and the desired options should always be set to ‘Primary Option’.
* Family craft, parametric families with many formula-driven options, tend to be large. Once decisions have been made on which option to use, the heavy family should be made leaner to maintain model health.
* Models should be fully purged and compacted before sharing.
* Family names should follow a system. Each BIM Manager shall be able to provide a reference on the system’s logic.
* Parameter names should follow a system. Each BIM Manager shall be able to provide a reference on the system’s logic.

# 5 Deliverables

Each BIM Participant is required to submit a Building Information Model that meets the model use requirements at the milestones noted below. The level of development for each BIM deliverable at the project milestones should refer to Section 2.2 BIM Design Process with a minimum sufficiency to fulfill the 2D document submission requirement.

Table ‑. BIM deliverables

|  | **Milestones** | **Final Deliverables** |
| --- | --- | --- |
| **Model Use** | **Weekly** | **30%** | **60%** | **90%** | **100%** | **Bid Phase for Design-Bid-Build** | **Design-Build** | **Post Construction Record** |
| Model Authoring | .RVT | .RVT | .RVT | .RVT | .RVT | .PDF.NWD | .RVT | .RVT |
| Drawing Production |  | .PDF | .PDF | .PDF | .PDF | .PDF | .PDF | .PDF |
| Design Review | 3D PDF, .NWD | 3D PDF, .NWD | 3D PDF, .NWD | 3D PDF, .NWD | 3D PDF, .NWD | 3D PDF, .NWD | 3D PDF, .NWD | 3D PDF, .NWD |
| Clash Detection | .NWC | .NWC | .NWC | .NWC |  |  |  |  |
| Engineering Analysis |  | ● | ● | ● |  |  |  |  |
| Visualization |  | ● | ● | ● | ● | ●\*\* | ●\*\* |  |
| Construction Simulation (4D, 5D) |  |  | ●\* | ●\* | ●\* |  | ●\*\* |  |

\* Optional, must be defined in contract.

\*\* Contractor’s option, must be defined in contract for model transmittal with usage disclaimer.

## For Design Reviews

During the design review process, project stakeholders view the 3D models prepared and presented by the design engineer and provide their feedback to validate multiple design aspects. 3D PDF could be an easy way to generate and review from most BIM platforms directly or indirectly. The design engineer BIM Manger shall export the federated model to .NWD from the native BIM software like Revit and Civil 3D for weekly coordination and milestone design review using Navisworks and/or BIM360.

## For 100%

**3D Geometric Deliverables – Design Intent Model**

The Design Team is to ensure that the “Design Intent Model” remains current with all approved design for overall scope. The final BIM deliverable is expected as below:

* Native file format(s) of Design Model (version as agreed in BIM Execution Plan)
* Federated Design Model (i.e. Revit model with all associated linked models and Navisworks published model .NWD, version as agreed in BIM Execution Plan)

**Data Deliverables**

* Provide room/space data according to locational hierarchy as defined by MSD’s Facilities Management/Asset Management system.

**2D Deliverables**

* Produce one printed set of final documents generated from the Design Intent Model in PDF format, each discipline shall be combined in PDF book format.

## Bid Phase for Design-Bid-Build

**3D Geometric Deliverables—Design Intent Model**

The Design Team is to ensure that the “Design Intent Model” remains current with all approved design for overall scope. It is not expected that product specific information will be added to this model. The final BIM deliverable is required as follows:

* Federated “Read-Only” Design Model (i.e. Navisworks published model .NWD - can be opened in Navisworks Freedom)
* Native file format(s) of Design Model (as required and agreed to by MSD and Consultant)
* All Addendums shall be incorporated into the Design Models when conformed documents are prepared.

**2D Deliverables**

* Produce one printed set of final documents generated from the Design Intent Model

a. PDF format

* All Addendums shall be incorporated into the Design Models when conformed documents are prepared.

## Post Construction Record

**3D Geometric Deliverables—Construction Coordination Model**

Responsibility for maintaining the construction record model and drawings shall be assigned by MSD and will depend on the construction delivery method. The Assignee shall ensure the Model(s) will conform to the actual construction with the final BIM deliverable is expected as below:

* Native file formats of the final consolidated As-Built Model(s) for building systems used in the multi-discipline coordination process (version as agreed in BIM Execution Plan)
* Federated As-Built Model for facility management (i.e. Navisworks published model .NWD, version as agreed in BIM Execution Plan)

**Data Deliverables**

* Provide room/space/product data according to locational hierarchy and asset parameter requirements as defined by the MSD’s Facilities Management/Asset Management software.

**2D Deliverables**

* Provide Record Drawings in PDF format.
* Sheet files in dwg format for Autocad based platforms
* Revit sheet files will be as delivered with the rvt model file

# Appendix A BIM Execution Plan

# Appendix B MSD CAD Standards